Contents

Part 4	Local government infrastructure plan,,,,	3

4.1	Preliminary	3

4.2	Planning assumptions	4

4.2.1	Population and employment growth	7

4.2.2	Development	7

4.2.3	Infrastructure demand	8

4.3	Priority infrastructure area	8

4.4	Desired standards of service	9

4.4.2	Water supply network	9

4.4.3	Wastewater network	10

4.4.4	Stormwater quantity network	11

4.4.5	Transport network	13

4.4.6	Parks and land for community facilities network	15

4.5	Plans for trunk infrastructure	25

4.5.2	Plans for trunk infrastructure maps	25

4.5.3	Schedules of works	25

# Local government infrastructure plan,,,,

## Preliminary

##### This local government infrastructure plan has been prepared in accordance with the requirements of the Sustainable Planning Act 2009.

##### The local government infrastructure plan was amended for alignment with the Planning Act 2016 (the Act) under section 287(3) of the Act.

##### The purpose of the local government infrastructure plan is to:

###### integrate infrastructure planning with the land use planning identified in the planning scheme

###### provide transparency regarding a local government’s intentions for the provision of trunk infrastructure

###### enable a local government to estimate the cost of infrastructure provision to assist its long term financial planning

###### ensure that trunk infrastructure is planned and provided in an efficient and orderly manner

###### provide a basis for the imposition of conditions about infrastructure on development approvals

##### The local government infrastructure plan:

###### states in Section 4.2 (planning assumptions) the assumptions about future growth and urban development including the assumptions of demand for each trunk infrastructure network

###### identifies in Section 4.3 (priority infrastructure area) the prioritised area to accommodate urban growth up to 2031

###### states in Section 4.4 (desired standards of service) for each trunk infrastructure network the desired standard of performance

###### identifies in Section 4.5 (plans for trunk infrastructure) the existing and future trunk infrastructure for the following networks:

            - water supply

            - wastewater

            - stormwater quantity

            - transport

            - parks and land for community facilities

###### provides a list of supporting documents that assist in the interpretation of the local government infrastructure plan in the Editor’s note – Extrinsic material at the end of section 4.5.2.

## Planning assumptions

##### The planning assumptions state the assumptions about:

###### population and employment growth

###### the type, scale, location and timing of development including the demand for each trunk infrastructure network.

##### The planning assumptions together with the desired standards of service form a basis for the planning of the trunk infrastructure networks and the determination of the priority infrastructure area.

##### The planning assumptions have been prepared for:

###### the base date (2021) and the following projection years:

            - mid 2026;

            - mid 2031.

###### the LGIP development types in column 2 that include the uses in column 3 of Table 4.2:1—Relationship between development categories, LGIP development types and uses.

###### the projection areas identified on Local Government Infrastructure Plan Map LGIP SC3.3:1—Priority infrastructure area and projection areas map in Schedule 3, Section SC3.3 Local government infrastructure plan maps.

##### Details of the methodology used to prepare the planning assumptions are stated in the extrinsic material.

| Table 4.2:1—Relationship between development categories, LGIP development types and uses |  |  |
| --- | --- | --- |
| - Column 1 LGIP development category | - Column 2 - LGIP development type | - Column 3 - Uses |
| - Residential development | - Attached Dwelling | - Caretaker's accommodation - Dual occupancy - Dwelling unit - Multiple dwelling - Retirement facility |
|  | - Detached Dwelling | - Dwelling house |
| - Non-residential development | - Retail | - Adult store - Agricultural supplies store - Bar - Bulk landscape supplies - Car wash - Food and drink outlet - Function facility - Garden centre - Hardware and trade supplies - Health care services - Hotel - Indoor sport and recreation - Nightclub entertainment facility - Outdoor sales - Service station - Shop - Shopping centre - Showroom - Theatre - Veterinary services - Wholesale nursery |
|  | - Industry | - High impact industry - Low impact industry - Major electricity infrastructure - Marine industry - Medium impact industry - Port services - Renewable energy facility - Research and technology industry - Rural industry - Service industry - Special industry - Substation - Telecommunications facility - Transport depot - Utility installation - Warehouse |
|  | - Other | - Animal husbandry - Animal keeping - Aquaculture - Air services Cemetery - Child care centre - Club Community care centre - Community residence Community use - Crematorium - Cropping Detention facility Educational establishment Emergency services Environment facility - Extractive industry - Function facility - Funeral parlour - Health care services - Home based business Hospital Indoor sport and recreation - Intensive animal industry - Intensive horticulture Landing Major sport, recreation and entertainment facility - Market - Motor sport facility - Natural-based tourism - Non-resident workforce accommodation - Office Outdoor sport and recreation - Outstation Park - Parking station - Permanent plantations - Place of worship - Relocatable home park - Residential care facility - Resort complex - Retirement facility - Roadside stalls - Rooming accommodation - Rural workers’ accommodation - Sales office - Short-term accommodation - Tourist attraction - Tourist park - Winery |

### Population and employment growth

##### A summary of the assumptions about population and employment growth for the planning scheme area is stated in Table 4.2:2—Population and employment assumptions summary.

| Table 4.2:2—Population and employment assumptions summary |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Column 1 Description | Column 2 Assumptions |  |  |  |
|  | 2021 | 2026 | 2031 | Ultimate Development |
| Population | 182,551 | 197,173 | 210,484 | 377,893 |
| Employment | 73,495 | 80,418 | 87,055 | 211,981 |

##### Detailed assumptions about growth for each projection area and LGIP development type are identified in the following tables in Schedule 3, Section SC3.1 (Planning assumptions tables):

###### for population, Table SC3.1:1—Existing and projected population

###### for employees, Table SC3.1:2—Existing and projected employees

### Development

##### The net developable area is identified on Local Government Infrastructure Plan Map LGIP SC3.3:2— Net Developable area map in Schedule 3, Section SC3.3 Local government infrastructure plan maps.

##### The planned density for future development is stated in Table SC3.1:3—Planned density and demand generation rate for a trunk infrastructure network in Schedule 3, Section SC3.1 Planning assumptions tables.

##### A summary of the assumptions about future residential and non-residential development for the planning scheme area is stated in Table 4.2:3—Residential dwellings and non-residential floor space assumptions summary.

| Table 4.2:3—Residential dwellings and non-residential floor space assumptions summary |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Column 1 Description | Column 2 Assumptions |  |  |  |
|  | 2021 | 2026 | 2031 | Ultimate Development |
| Residential dwellings | 65,825 | 71,628 | 76,962 | 137,899 |
| Non-residential floor space (m2 GFA) | 4,037,482 | 4,568,922 | 5,095,873 | 12,916,798 |

##### Detailed assumptions about future development for each projection area and LGIP development type are identified in the following tables in Schedule 3, Section SC3.1 Planning assumptions tables:

###### for residential development, Table SC3.1:4—Existing and projected dwellings

###### for non-residential development, Table SC3.1:5—Existing and projected non-residential floor space.

### Infrastructure demand

##### The demand generation rate for a trunk infrastructure network is stated in Column 4 of Table SC3.1:3—Planned density and demand generation rate for a trunk infrastructure network in Schedule 3, Section SC3.1 (Planning assumptions tables).

##### A summary of the projected infrastructure demand for each service catchment is stated in:

###### for the water supply network, Table SC3.1:6—Existing and projected demand for the water supply network

###### for the sewerage network, Table SC3.1:7—Existing and projected demand for the wastewater network

###### for the stormwater quantity network, Table SC3.1:8—Existing and projected demand for the stormwater quantity network

###### for the transport network, Table SC3.1:9—Existing and projected demand for the transport network

###### for the parks and land for community facilities network, Table SC3.1:10—Existing and projected demand for the parks and land for community facilities network.

## Priority infrastructure area

##### The priority infrastructure area identifies the area prioritised for the provision of trunk infrastructure to service the existing and assumed future urban development up to 2031.

##### The priority infrastructure area is identified on Local Government Infrastructure Plan Map LGIP SC3.3:1— Priority infrastructure area and projection areas map in Schedule 3, Section SC3.3 (Local government infrastructure plan maps).

## Desired standards of service

##### This section states the key standards of performance for a trunk infrastructure network.

##### Details of the standard of service for a trunk infrastructure network are identified in the extrinsic material.

### Water supply network

##### The key desired standard of service for the trunk water supply network is summarised in Table 4.4:1–Per capita water consumption by catchment (average day demand) and Table 4.4:2–Other water supply network desired standards of service.

| Table 4.4:1—Per capita water consumption by catchment (average day demand) |  |
| --- | --- |
| Column 1 Planning Catchment | Column 2 (L/EP/d) |
| Toowoomba | 200 |
| Highfields |  |
| Oakey and Jondaryan |  |
| Crows Nest and Hampton |  |
| Gowrie Mountain, Kingsthorpe & Gowrie Junction |  |
| Meringandan West |  |
| Yarraman |  |
| Goombungee |  |
| Top Camp, Hodgson Vale & Vale View |  |
| Cambooya, Greenmount |  |
| Wyreema |  |
| Nobby |  |
| Clifton | 250 |
| Pittsworth |  |
| Cecil Plains | 280 |
| Millmerran | 300 |

| Table 4.4:2—Other water supply network desired standards of service |  |
| --- | --- |
| Column 1 Parameter | Column 2 Standard for LGIP |
| Service Pressure |  |
| Maximum allowable service pressure. | 80.0 m |
| Minimum service pressure for Residential. | 30.0 m |
| Minimum service pressure for Industrial and commercial. | 35.0 m |
| Absolute minimum service pressure for Residential. | 22.0 m (by Council approval only) |
| Absolute minimum service pressure for Industrial and commercial sites. | 25.0 m (by Council approval only) |
| Fire fighting requirements |  |
| Urban | 15 L/s Residential |
|  | 30 L/s Non-Residential |
| Small Community | 7.5 L/s Residential |
|  | 15 L/s Non-Residential |
| Minimum fire fighting modelling results of less than 16 m head are to be considered as “Pressure Disadvantaged”. |  |
| Pressures between 12-16m head will require Council approval with justification for adoption. |  |

### Wastewater network

##### The key desired standard of service for the trunk wastewater network is summarised in Table 4.4:3–wastewater desired standards of service.

| Table 4.4:3—Wastewater desired standards of service |  |
| --- | --- |
| Column 1 Parameter | Column 2 Standard for LGIP |
| Average dry weather flow (ADWF) per EP, for wastewater network | In the absence of location / study specific data, the following ADWF value is used: - 150 L/EP/d (75 % of 200 L/EP/d) for conventional gravity sewer systems in residential areas - 180 L/EP/d for industrial / commercial areas. |
| Peak wet weather flow (PWWF) | 5 x ADWF |
| Maximum depth of flow at PWWF for gravity sewers | 0.75 x diameter |
| Minimum rising main velocity | 0.75 m/s |
| Maximum rising main velocity | 1.5 m/s (single pump) |

### Stormwater quantity network

##### The key desired standard of service for the trunk stormwater quantity network is summarised in Table 4.4:4–Piped and channel drainage infrastructure and Table 4.4:5–Recommended design average recurrence interval (ARI) and annual exceedance probabilities (AEP) for the combined minor/major system.

| Table 4.4:4—Piped and channel drainage infrastructure |  |  |  |
| --- | --- | --- | --- |
| Column 1 Drainage type | Column 2 Development category | Column 3 ARI (years) | Column 4 AEP |
| Drainage minor | Central business and commercial | 10 | 10% |
|  | Industrial | 2 | 39% |
|  | Urban residential high density – greater than 20 dwelling units/ha | 10 | 10% |
|  | Urban residential low density – 6 to 20 dwelling units/ha | 2 | 39% |
|  | Rural residential – 2 to 5 dwelling units/ha | 2 | 39% |
|  | Open space – parks, etc. | 1 | 63% |
|  | Major Road – Kerb and channel flow | 10 | 10% |
|  | Minor Road – Kerb and channel flow | 10 | 10% |
| Drainage major | Reference flood for setting habitable floor levels in residential buildings and floor levels in commercial/industrial buildings adjacent floodplains or overland flow paths | 100 | 1% |
|  | Design storm for overland flow paths (including road drainage) | 100 | 1% |
| Cross drainage | Major Road Culverts | 50 | 2% |
|  | Minor Road Culverts | 10 | 10% |

Major roads are defined as Regional, Sub-Arterial, Arterial Roads and Distributor Roads in accordance with the TRC road hierarchy.

Minor roads are defined as Collector Roads and Local Roads in accordance with the TRC road hierarchy.

Table 4.4:5– Recommended design average recurrence interval (ARI) and annual exceedance probabilities (AEP) for the combined minor/major system

| Column 1 Development category | Column 2 ARI (years) | Column 3 AEP |
| --- | --- | --- |
| Reference flood setting floor levels in hospitals, emergency services, flood evacuation buildings and Civil Defence HQ | 500 | 0.2% |
| Reference flood setting floor levels of emergency shelters, police facilities, museums, libraries, storage facilities for valuable records or items of historic or cultural significance and housing for aged and those with impaired mobility, and the setting design levels for water and wastewater centres and critical utility services infrastructure | 200 | 0.5% |
| Reference flood for setting habitable floor levels in residential buildings and floor levels in commercial/industrial buildings adjacent floodplains or overland flow paths | 100 | 1% |
| Design storm for overland flow paths | 50 or 100 | 2 or 1% |

### Transport network

##### The desired standard of service for the trunk transport network includes the trunk road network, trunk pathway and cycle path network and trunk public transport network.

##### Road network

##### The key desired standard of service for the trunk road network are:

###### provide a functional urban road hierarchy that supports settlement patterns, commercial and economic activities, and freight movement.

###### support economic development through efficient transport movements by maintaining and enhancing critical transport network links and intersections that connect residential areas to employment areas, centres, education facilities and mixed-use sites in accordance with the planning scheme.

###### plan any new transport infrastructure networks (excluding improvement works to existing transport network infrastructure) to limit traffic on streets with direct vehicular access to residential zoned land to below 3000 vehicle trips per day;

###### plan the trunk road transport network and associated infrastructure to:

            - accord with Council’s adopted standards identified in Schedule 6, Section SC6.2 PSP No. 2—Engineering Standards – Roads and Drainage Infrastructure;

            - accord with Austroads guidelines;

            - accord with Department of Transport and Main Roads’ Road Planning and Design Manual;

            - provide a desirable off-peak operation of the road network not worse than level of service C; and

            - provide a peak-period operation of the road network not worse than level of service C, except where the road network and associated infrastructure is highly constrained

- Pathway and cycle path network

##### The desired standard of service for the trunk pathway and cycle path network are:

###### provide a connected, convenient, safe and attractive pathway and cycle path network that has continuous paths of travel within a 400-metre radius of principal attractors which includes, without limitation:

            - education establishments;

            - medical facilities;

            - aged care facilities; and

            - shopping establishments.

###### plan trunk pathways and cycle paths (including on-road cycle lanes, where appropriate) transport networks to:

            - accord with Council’s adopted standards identified in Schedule 6, Section SC6.2 PSP No. 2 - Engineering Standards – Roads and Drainage Infrastructure;

            - accord with Austroads guidelines; and

            - relevant Australian Standards for ‘access and mobility’.

- Public transport network

##### The key desired standard of service for the trunk public transport network are:

###### plan the public transport network to locate bus stops within a 400-metre radius of 90 percent of households and within 250m of activities in activity centres.

###### design trunk roads carrying bus routes to allow appropriate bus operating speeds and where necessary provide bus priority measures to bypass congestion.

###### provide bus stops including bus bays on trunk roads in accordance with Table 4.4:6–Bus and coach standards on trunk roads.

| Table 4.4:6—Bus and coach standards on trunk roads |  |
| --- | --- |
| Column 1 Road function | Column 2 Bus and coach provisions |
| Highway | No provisions for stops (stops only on auxiliary roads or within interchanges). |
| Regional arterial | Indented bus and coach stops with acceleration and deceleration provisions. |
| Sub arterial | Indented bus and coach stops with acceleration and deceleration provisions. |
| Distributor | Indented bus stops or priority utilisation of parking lane if available. |

### Parks and land for community facilities network

##### The key desired standard of service for the trunk parks and land for community facilities network are:

###### provide an accessible network of parks, open space, and community facilities that meets the needs of residents and visitors in accordance with:

            - the accessibility standard identified in column 4 of Table 4.4:7–Accessibility and rate of land provision standards for trunk parks.

            - the rate of land provision identified in column 5 of Table 4.4:7– Accessibility and rate of land provision standards for trunk parks.

            - the size, slope, road frontage and level of flood immunity standards for park land stated in column 3 of Table 4.4:8–Land standards for trunk parks.

            - embellish parks to complement the type and function of the park in accordance with the standards stated in column 3 of Table 4.4:9–Embellishment standards for trunk parks.

| Table 4.4:7—Accessibility and rate of land provision standards for trunk parks |  |  |  |  |
| --- | --- | --- | --- | --- |
| Column 1 Park function | Column 2 Category | Column 3 Hierarchy | Column 4 Accessibility | Column 5 Rate of land provision (per 1,000 people) |
| Recreation Parks | Local | Urban | 400m | 0.7 ha |
|  |  | Township |  | 0 ha |
|  |  | Supplementary Local (provided only in Township where accessibility standards are not being met by the District Recreation Park) |  | 0.7 ha |
|  | District – Urban | Urban | 1km | 1.0 ha |
|  |  | Township |  | 1.2 ha |
|  | District – Linear Corridor | Urban | 1km | 1.0 ha |
|  |  | Township |  | 1.2 ha |
|  | Regional | N.A. | Centrally located to serve entire region including urban, township and rural catchments | 0.1 ha |
| Sports Parks | District | Urban | 20km accessibility catchment | 1.3 ha |
|  |  | Township |  |  |
|  | Regional | N.A. | Located within the major population centre and central to serve entire region including urban, township and rural catchments | 0.5 ha |

| Table 4.4:8—Land standards for trunk parks |  |  |
| --- | --- | --- |
| Column 1 Park classification | Column 2 Standard | Column 3 Standard description |
| Local Recreation Park | Minimum size | 0.5 ha of useable space |
|  | Shape | The preferred shape is square to rectangular with a boundary ratio no greater than 2:1 |
|  | Road frontage | 50% of the park perimeter to have direct road frontage (maximum 75% road frontage) On a formed collector road or lower Maximum gradient of 1:20 interface between road frontage and park One vehicular access point |
|  | Gradient | Minimum of 80% of the park has a maximum gradient of 1:30 Maximum of 20% of the park has a gradient greater than 1:30 but less than 1:6 for maintenance purposes |
|  | Flood immunity | Minimum of 15% of the park above 5% AEP flood extent Minimum of 10% of the park above 2% AEP flood extent Minimum of 5% of the park above 1% AEP flood extent |
| District Recreation Park (Urban and Township) | Minimum size | 2.0 ha of useable space |
|  | Shape | The preferred shape is square to rectangular with a boundary ratio no greater than 2:1 |
|  | Road frontage | Minimum 50% of the park perimeter to have direct road frontage on a formed collector or distributor road Maximum gradient of 1:20 interface between road frontage and park Two vehicular access points |
|  | Gradient | Minimum of 70% of the park has a maximum gradient of 1:30 Maximum of 30% of the park has a gradient greater than 1:30 but less than 1:6 for maintenance purposes |
|  | Flood immunity | Minimum of 40% of the park above 5% AEP flood extent Minimum of 20% of the park above 2% AEP flood extent Minimum of 10% of the park above 1% AEP flood extent |
| District Recreation Park (Linear Corridor) | Minimum size | District activity nodes: - Minimum of 6000m2 meeting required accessible gradients (preferred shape 100m x 60m) - Minimum width of 60m above the 1% AEP flood extent Local activity nodes: - Minimum of 2000m2 meeting required accessible gradients (preferred shape 40m x 50m) - Minimum width of 50m above the 1% AEP flood extent Active Transport Corridor: - A minimum of 15m width above the 1% AEP flood extent or where not subject to flood extent, a minimum width of 30m is required |
|  | Shape | Linear in nature providing both activity nodes for active recreation and play at breakout points along the corridors (consistent with accessibility requirements of Local and District Recreation Parks) and active transport (walking and cycling) connections between activity nodes |
|  | Road frontage | Minimum 75% of the park perimeter (including nodes and active transport corridor) to have direct road frontage to a formed collector or distributor road Higher levels of road frontage may allow for a reduced width outside of activity nodes and may be incorporated into road verge as associated street trees and footpaths. A maximum distance without road (behind private allotments) is 180m with clear visual surveillance for the full length of this area Maximum gradient of 1:20 interface between road frontage and park One vehicular access point at each Local activity node and two vehicle access points at each District activity node |
|  | Gradient | District and Local activity nodes - Maximum grade of 1:30 for shared functionality and to accommodate varying levels of mobility Active Transport Corridor - Maximum grade of 1:14 (or where necessary due to the recognition of natural features, not greater than 1:10) An alternative maximum gradient can be considered for specific portions of the active transport corridor on a case-by-case basis where elevation provides a public benefit (e.g. scenic viewpoint) |
|  | Flood immunity | Approximately 30% above 1% AEP flood event generally provided at activity nodes Features to be located at above 1% AEP flood event: - All structures; - Playgrounds and play equipment; and - Other key infrastructure (i.e. priority access paths, lighting, water bubblers), barbecues, bins, exercise equipment). - Features to be located at above 5% AEP flood event: - Secondary pathways (i.e. connecting or loop paths); - Seating; and Signage |
| Regional Recreation Park | Minimum size | Variable (regional parks are unique and not tied to specific size other than population needs) |
|  | Shape | Square or rectangular with a boundary ratio no greater than 2:1. There is scope to explore other proportions dependant on land available to meet regional size needs and deliver on activity needs identified for new regional park land |
|  | Road frontage | Minimum 75% of the park perimeter to have direct road frontage On a formed collector road or higher Maximum gradient of 1:20 interface between road frontage and park Multiple vehicular access points as appropriate for use and location Accessible by public transport |
|  | Gradient | Minimum of 80% of the park has a maximum gradient of 1:30 Maximum of 20% of the park has a gradient greater than 1:30 but less than 1:6 for maintenance purposes |
|  | Flood immunity | 60% of the park above 5% AEP flood extent 40% of the park above 2% AEP flood extent 30% of the park above 1% AEP flood extent |
| District Sports Parks | Minimum size | 6.0 ha |
|  | Shape | The preferred shape for a park is square to rectangular with a length to width ratio of no greater than 2:1 (dependant on intended sporting facilities and flexibility that allows for change in programs) |
|  | Road frontage | Minimum 50% of the park perimeter to have direct road frontage On a formed collector or higher order road Maximum gradient of 1:20 interface between road frontage and park Two vehicular access points Accessible by public transport and connection with external bikeways/pathway network |
|  | Gradient | Maximum gradient of 1:100 for all playing surfaces Minimum of 70% of the park area outside of playing surfaces has a maximum gradient of 1:30 Maximum of 30% of the park outside of playing surfaces has a gradient greater than 1:30 but less than 1:6 for maintenance purposes Overland flow managed via swale drains and piped where required |
|  | Flood immunity | Fields / courts above 5% AEP flood extent Built facilities above 1% AEP flood extent Balance of site above 10% AEP flood extent |
| Regional Sports Parks | Minimum size | Sized as required to meet provision standards |
|  | Shape | The preferred shape for a park is square to rectangular with a length to width ratio of no greater than 2:1 (dependant on intended sporting facilities and flexibility that allows for change in programs) |
|  | Road frontage | Minimum 50% of the park perimeter to have direct road frontage On a formed collector road or higher Maximum gradient of 1:20 interface between road frontage and park Multiple vehicular access / egress points as appropriate for use and location, including consideration for emergency vehicle access Accessible by public transport |
|  | Gradient | Maximum gradient of 1:100 for all playing surfaces Minimum of 70% of the park area outside of playing surfaces has a maximum gradient of 1:30 Maximum of 30% of the park outside of playing surfaces has a gradient greater than 1:30 but less than 1:6 for maintenance purposes |
|  | Flood immunity | Fields / courts above 5% AEP Built facilities above 1% AEP Balance of site above 10% AEP |
| Table 4.4:9—Embellishment standards for trunk parks |  |  |
| Column 1 Park classification | Column 2 Standard | Column 3 Standard description |
| Local Recreation Park | Recreation activity area | Mix of 3 or 4 activity options within one activity node (e.g. playground, nature play, social sporting infrastructure such as multi-purpose / hard court) |
|  | Fencing | Fencing to perimeter – typically bollards or similar Lockgate at vehicle access point |
|  | Landscaping | Existing trees retained and new park trees planted capable of providing a minimum of 40% natural shade at maturity Turf to disturbed areas |
|  | Park furniture (all accessible) | Signage - park name Water bubbler Bench seat Picnic set without shelter Shelter with picnic set Shade sail or structure over activity node |
|  | Vehicular and pedestrian movement | Shared path (2 metre wide) connecting activity node to key park elements (e.g. external path network, carparks, bus stop) |
| District Recreation Park (Urban and Township) | Recreation activity area | Mix of 6 - 8 activity options in 2 – 3 activity nodes (e.g. playground, nature play, water play, social sporting infrastructure such as multi-purpose / hard court, scooter / skate, bike facilities, fitness equipment or dog off-leash area) Activity options to attract a range of age-cohorts |
|  | Fencing | Fencing to perimeter and internal car parking – typically bollards or similar Lockgate at vehicle access points |
|  | Vehicular and pedestrian movement | Internal and / or off-road car parking Shared path (2.5 metre wide) connecting activity node to key park elements (e.g. external path network, carparks, bus stop) Additional paths (2 metre wide) to achieve a walking circuit |
|  | Buildings | Amenity block - minimum standard of three cubicles unisex (for example 2 ambulant, 1 PWD) |
|  | Landscaping | Existing trees retained and new park trees planted capable of providing a minimum of 40% natural shade at maturity Garden beds provided for buffering and to separate areas of different uses Irrigation to all garden beds and high use turf areas Turf to disturbed areas |
|  | Park furniture (all accessible) | Signage - park name, regulatory and informative Lighting along key pedestrian pathways and activity nodes Bike racks Water bubblers Bench seating Picnic sets Shelter with picnic set Barbeque Shade sails or structure over activity node Rubbish bins with enclosure |
| District Recreation Park (Linear Corridor) | Recreation activity area | Located in activity nodes or at other appropriate spaces along the active transport corridor when the activity meets the intent of the function Activity options appropriate to the activity node: Local activity node - mix of 3-4 activity options at 1 activity nodes (e.g. playground, nature play, social sporting infrastructure such as multi-purpose / hard court). District activity node – 6-8 activity options at 2-3 activity node (e.g. playground, nature play, water play, social sporting infrastructure such as multi-purpose / hard courts, scooter / skate, bike, fitness equipment, dog off-leash area) |
|  | Fencing | Fencing to nodes, areas where vehicle access likely and internal car parking – typically bollards or similar Lockgate at each vehicle access point at nodes |
|  | Vehicular and pedestrian movement | On off-road car parking at district activity nodes and where formal carparking can be provided without impact on linear corridor function or values Shared path (2.5 metres wide) connecting activity areas with external path network and between activity nodes Additional paths (2 metres wide) to achieve a walking circuit Pedestrian bridge crossing |
|  | Buildings | Amenity block - minimum standard of three cubicles unisex (for example 2 ambulant, 1 PWD) |
|  | Landscaping | Existing trees retained and new park trees planted capable of providing a minimum of 40% natural shade at maturity Garden beds provided for buffering and to separate areas of different uses Irrigation provided to all garden beds and high use turf areas (where required) Revegetation areas with native drought resistant plantings in a mulched garden bed Turf to disturbed areas |
|  | Park furniture (all accessible) | Signage – park name, regulatory, informative and wayfinding Lighting along key pedestrian pathways and activity Bike racks Water bubblers Bench seats Picnic set without shelter Shelter with picnic set Barbeques Shade sail or structure over activity node Rubbish bins with enclosure |
| Regional Recreation Park | Recreation activity area | To meet a regional recreation activity needs analysis (the site should be designed / master planned to accommodate identified activity needs – activity areas should flow and legibility be of paramount concern) |
|  | Fencing | Bollard fencing to perimeter and internal roads / car parking and lockgate where appropriate for maintenance / venue access (dependant on design and safety issues) |
|  | Pedestrian / pathway network | All major connection paths to be shared pathways - minimum 2.5m width (wider for key/high use areas) Legible layout tied to a way finding strategy |
|  | Internal roads | Dependant on site and site needs (should be considered with respect to delivery of goods for venue use and maintenance needs) |
|  | Car parking | Minimum 20 spaces per key activity node (additional parking considered as relates to venue use other than general park recreation activity) Consider overflow / event parking opportunities and bump-in / out needs |
|  | Bus parking / pull through | Bus pull-through ideally accommodated (may be on-site or in close proximity, ensure there is clear way finding to link with parkland) Bus parking may be considered as park of overflow / event parking opportunities |
|  | Buildings | Amenity blocks located to support activity area needs Sustainable building practices, such as solar power and stormwater harvesting, to be incorporated into building (where possible) |
|  | Landscaping | Existing trees retained and new park trees planted capable of providing a min of 40% natural shade at maturity Garden beds provided for buffering, separation and amenity purposes Feature and theme plantings where appropriate Water harvesting and storage where appropriate |
|  | Irrigation | Required in high use turf areas and all garden beds |
|  | Feature paving / concrete stencilling | As required to identify activity nodes and entrance points (tied to way finding strategy to assist in legibility) |
|  | Park signage | Park signage (park name, regulatory, wayfinding and interpretative signage) Way finding strategy required to determine extent of signage (may extend outside of park boundary to link with public transport nodes or town centre) |
|  | Park furniture | Park lighting required for all activity nodes and all key pathways (including solar where appropriate) Bike racks required at entry points and attached to key activity nodes Water bubbler to serve 50m catchments includes water connections Seating clustered at nodes and to serve 50m catchments along key pathways Picnic set and shelters tied to activity / use analysis Barbeques tied to activity / use analysis Shade Structure tied to activity / use analysis Rubbish bins with enclosure |
|  | Art work | A public art strategy for the regional park is required |
| District Sport Park | Formalised sports fields, courts or facilities | Minimum two ovals and four rectangular fields with a north-south orientation Multipurpose / hard court sports as required. High quality playing surface |
|  | Recreation activity area | Depending on the size of the park and proximity to adjacent residents. Minimum level of provision equivalent to that of a local recreation park. |
|  | Fencing | Fencing to perimeter and internal car parking – typically bollards or similar Lockgate at each vehicle access point |
|  | Vehicular & Pedestrian Movement | Internal formed car parking and on-road car parking Internal roads Shared path (2.5 metres wide) connecting activity node to key park elements elements (e.g. external path network, carparks, bus stop) Additional paths (2 metres wide) to achieve a walking circuit |
|  | Public Transport | Bus pull-through and parking where possible |
|  | Buildings | Amenity building including combined sport facilities and public toilets |
|  | Landscaping | Existing trees retained and new park trees Garden beds provided for buffering and to separate areas of different uses Irrigation provided to all garden beds and high use turf areas (where required) Turf to disturbed areas |
|  | Irrigation | Irrigation to high use playing surfaces |
|  | Lighting | Lighting for high use sports fields to competition standard Lighting along key pedestrian pathways including electrical connection |
|  | Park furniture (all accessible) | In addition to any recreation activity area: Signage – park name, regulatory and wayfinding Bike racks Water bubbler Shelter with picnic set Picnic set without shelter Bench seat Rubbish bin with enclosure Shade sail or structure over recreation activity node |
| Regional Sports Park | Formalised sports fields, courts or facilities | To meet a regional sport needs analysis (the site should be designed / master planned to accommodate identified regional sporting needs) including to meet the minimum needs of the targeted sports National/ State facility guidelines |
|  | Recreation activity area | Depending on the size of the park and proximity to adjacent residents. Minimum level of provision equivalent to that of a district recreation park (see desired standards of service for that park type) |
|  | Fencing | Bollard fencing to perimeter and internal roads and lock rail where appropriate for maintenance / venue access (other types of fencing as agreed with Council and dependant on design and safety issues) |
|  | Pedestrian / pathway network | Pedestrian pathway connecting activity areas and external path network Pedestrian pathway for access to major infrastructure/ premier hub Safe connections from public transport and car parks to activity nodes Incorporate minimum 5km internal walk/cycle network loop |
|  | Internal roads | Dependant on site and site needs (should be considered with respect to delivery of goods for venue use and maintenance needs) Incorporate emergency access arrangements Internal road network loop connecting all individual car parking nodes to each other. Safe drop off/ pick up zone |
|  | Car parking | Internal car parking relevant to sporting use type Consider overflow / event parking opportunities and bump-in / out needs Bike racks adjacent to each individual building node |
|  | Public transport | Bus pull-through and parking where possible |
|  | Buildings | Premier building hub provided central to site and smaller amenity building provided at a rate of one per activity node / maximise opportunities for shared use between activity nodes. Buildings to provide combined sport facilities and public toilets |
|  | Landscaping | Existing trees retained where appropriate and new park trees planted capable of providing a minimum of 10% natural shade at maturity around activity areas and along vehicular and pedestrian movement areas Garden beds provided for buffering, separation and amenity purposes Water harvesting and storage where appropriate Irrigation provided to all garden beds and high use turf areas |
|  | Irrigation | Irrigation to formalised sports fields with sub surface drainage |
|  | Lighting | Minimum one lit field per activity node consistent with the minimum needs of the targeted sports National/ State facility guidelines Safety lighting to all activity nodes and key pathways |
|  | Park furniture (all accessible) | In addition to any recreation activity area: Signage – park name, regulatory and wayfinding Bike racks Water bubbler Bench seats (spectator) Picnic set Rubbish bin with enclosure |

## Plans for trunk infrastructure

##### The plans for trunk infrastructure identify the trunk infrastructure networks intended to service the existing and assumed future urban development at the desired standard of service up to 2031.

### Plans for trunk infrastructure maps

##### The existing and future trunk infrastructure networks are shown on the following maps in Schedule 3, Section SC3.3 (Local government infrastructure plan maps):

###### Local Government Infrastructure Plan Map LGIP SC3.3:3—Plan for trunk water supply infrastructure

###### Local Government Infrastructure Plan Map LGIP SC3.3:4—Plan for trunk wastewater infrastructure

###### Local Government Infrastructure Plan Map LGIP SC3.3:5—Plan for trunk stormwater quantity infrastructure

###### Local Government Infrastructure Plan Map LGIP SC3.3:6—Plan for trunk transport infrastructure

###### Local Government Infrastructure Plan Map LGIP SC3.3:7—Plan for trunk parks and land for community facilities infrastructure

##### The State infrastructure forming part of the trunk transport infrastructure network has been identified using information provided by the relevant State infrastructure supplier.

### Schedules of works

##### Details of the existing and future trunk infrastructure networks are identified in the electronic Excel schedule of works model which can be viewed here: https://www.tr.qld.gov.au/planning-building/planning-scheme-strategies-tools/planning-scheme-new/14063-lgip

##### The future trunk infrastructure is identified in the following tables in Schedule 3, Section 3.2 (Schedules of works):

###### for the water supply network, Table SC3.2:1—Water supply network schedule of works

###### for the wastewater network, Table SC3.2:2—Wastewater network schedule of works

###### for the stormwater quantity network, Table SC3.2:3—Stormwater quantity network schedule of works

###### for the transport network, Table SC3.2:4—Transport network schedule of works

###### for the parks and land for community facilities network, Table SC3.2:5—Parks and land for community facilities network schedule of works

## Editor’s note ─ Extrinsic material

The below table identifies the documents that assist in the interpretation of the local government infrastructure plan and are extrinsic material under the Statutory Instruments Act 1992.

List of extrinsic material

| Column 1 Title of document | Column 2 Date | Column 3 Author |
| --- | --- | --- |
| Toowoomba Regional Council Demographic Projections | 19 March 2014 | RPS Australia East Pty Ltd |
| Toowoomba Regional Council LGIP Planning Assumptions Report | April 2016 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Water Supply Network | May 2022 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Wastewater Network | May 2022 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Stormwater Quantity Network | May 2022 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Transport Network | May 2022 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Parks Network | May 2022 | Toowoomba Regional Council |

Amended on 28 November 2022

Amended on 22 January 2021

Amended on 3 July 2017

Amended on 9 June 2017

Amended on 4 August 2014