Contents

Part 4	Local government infrastructure plan,,,,,	3

4.1	Preliminary	3

4.2	Planning assumptions	4

4.2.1	Population and employment growth	6

4.2.2	Development	7

4.2.3	Infrastructure demand	7

4.3	Priority infrastructure area	8

4.4	Desired standards of service	9

4.4.1	Water supply network	9

4.4.2	Wastewater network	10

4.4.3	Stormwater quantity network	10

4.4.4	Transport network	12

4.4.5	Parks and land for community facilities network	14

4.5	Plans for trunk infrastructure	23

4.5.1	Plans for trunk infrastructure maps	23

4.5.2	Schedules of works	23

4.6	Extrinsic material	24

# Local government infrastructure plan,,,,,

## Preliminary

##### This local government infrastructure plan has been prepared in accordance with the requirements of the Sustainable Planning Act 2009.

##### The local government infrastructure plan was amended for alignment with the Planning Act 2016 (the Act) under section 287(3) of the Act.

##### The purpose of the local government infrastructure plan is to:

###### integrate infrastructure planning with the land-use planning identified in the planning scheme;

###### provide transparency regarding a local government’s intentions for the provision of trunk infrastructure;

###### enable a local government to estimate the cost of infrastructure provision to assist its long-term financial planning;

###### ensure that trunk infrastructure is planned and provided in an efficient and orderly manner;

###### provide a basis for the imposition of conditions about infrastructure on development approvals.

##### The local government infrastructure plan:

###### states in Section 4.2 (planning assumptions) the assumptions about future growth and urban development including the assumptions of demand for each trunk infrastructure network;

###### identifies in Section 4.3 (priority infrastructure area) the prioritised area to accommodate urban growth up to 2036;

###### states in Section 4.4 (desired standards of service), for each trunk infrastructure network, the desired standard of performance;

###### identifies in Section 4.5 (plans for trunk infrastructure) the existing and future trunk infrastructure for the following networks:

water supply;

wastewater;

stormwater quantity;

transport;

public parks and land for community facilities;

###### provides a list of supporting documents that assists in the interpretation of the local government infrastructure plan in Section 4.6 (extrinsic material).

## Planning assumptions

##### The planning assumptions state the assumptions about:

###### population and employment growth;

###### the type, scale, location and timing of development, including the demand for each trunk infrastructure network.

##### The planning assumptions, together with the desired standards of service, form the basis for the planning of the trunk infrastructure networks and the determination of the priority infrastructure area.

##### The planning assumptions have been prepared for:

###### the base date (2021) and the following projection years:

2026;

2031;

2036;

Ultimate development;

###### the LGIP development types in column 2 that include the uses in column 3 of Table 4.2:1

###### the projection areas identified on Local Government Infrastructure Plan Map SC3:3:1–Priority infrastructure area and projection areas map in Schedule 3—Local government infrastructure plan mapping and tables.

Table 4.2:1 – Relationship between LGIP development categories, LGIP development types and uses

| Column 1 LGIP development category | Column 2 LGIP development type | Column 3 Uses |
| --- | --- | --- |
| Residential development | Detached dwelling | Dwelling house Caretaker's accommodation |
|  | Attached dwelling | Dual occupancy Dwelling unit Multiple dwelling |
|  | Other dwelling | Community residence Relocatable home park Residential care facility Retirement facility Rooming accommodation |
| Non-residential development | Retail | Bar Food and drink outlet Hotel Adult store Market Shop Shopping centre Garden centre Showroom Outdoor sales Bulk landscape supplies Wholesale nursery Hardware and trade supplies Service station |
|  | Commercial | Office Car wash Service industry Veterinary services |
|  | Educational | Child care centre Educational establishment |
|  | Tourism | Nightclub entertainment facility Function facility Theatre Natural-based tourism Tourist attraction Resort complex Short-term accommodation Tourist park |
|  | Community | Club Indoor sport and recreation Major sport, recreation and entertainment facility Motor sport facility Outdoor sport and recreation Cemetery Community care centre Community use Crematorium Funeral parlour Place of worship Health care services Hospital Detention facility Emergency services |
|  | Industry | Low impact industry Renewable energy facility Research and technology industry Medium impact industry Marine industry High impact industry Extractive industry Warehouse Special industry |
|  | Transport | Landing Port services Transport depot Air services Parking station |
|  | Rural | Cropping Intensive horticulture Animal keeping Animal husbandry Intensive animal industry Aquaculture Agricultural supplies store Rural industry Winery |
|  | Other | Environment facility Home based business Non-resident workforce accommodation Outstation Park Permanent plantations Roadside stalls Rural workers’ accommodation Sales office Major electricity infrastructure Substation Telecommunications facility Utility installation |
|  | Mobile | Note—There is no planning scheme use definition for mobile workers. Mobile workers include workers that have no fixed place of work e.g. construction workers. |

##### Details of the methodology used to prepare the planning assumptions are stated in the extrinsic material (refer Section 4.6).

### Population and employment growth

##### A summary of the assumptions about population and employment growth for the planning scheme area is stated in Table 4.2:2—Population and employment assumptions summary.

Table 4.2:2—Population and employment assumptions summary

| Column 1 Description | Column 2 Assumptions |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Base date (2021) | 2026 | 2031 | 2036 | Ultimate development |
| Population | 180,470 | 192,023 | 209,170 | 227,579 | 309,375 |
| Employment | 82,001 | 90,738 | 98,324 | 104,511 | 237,112 |

##### Detailed assumptions about growth for each projection area and LGIP development type category are identified in the following tables in Schedule 3 Local government infrastructure plan mapping and tables:

###### for population, Table SC3.1:1 – Existing and projected population;

###### for employment, Table SC3.1:2 – Existing and projected employees.

### Development

##### The developable area is identified on Local Government Infrastructure Plan Map SC3:3:2–Net developable area map in Schedule 3—Local government infrastructure plan mapping and tables.

##### The planned density for future development is stated in Table SC3.1.3 – Planned density and demand generation rate for a trunk infrastructure network in Schedule 3—Local government infrastructure plan mapping and tables.

##### A summary of the assumptions about future residential and non-residential development for the planning scheme area is stated in Table 4.2:3 – Residential dwellings and non-residential floor space assumptions summary.

Table 4.2:3—Residential dwellings and non-residential floor space assumptions summary

| Column 1 Description | Column 2 Assumptions |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Base date (2021) | 2026 | 2031 | 2036 | Ultimate development |
| Residential dwellings | 76,445 | 84,537 | 92,451 | 100,663 | 138,687 |
| Non-residential floor space (m2 GFA) | 9,303,428 | 9,948,394 | 10,660,522 | 11,199,105 | 23,094,886 |

##### Detailed assumptions about future development for each projection area and LGIP development type are identified in the following tables in Schedule 3 Local government infrastructure plan mapping and tables:

###### for residential development, Table SC3.1.4 – Existing and projected dwellings;

###### for non-residential development, Table SC3.1.5 – Existing and projected non-residential floor space.

### Infrastructure demand

##### The demand generation rate for a trunk infrastructure network is stated in Column 4 of Table SC3.1.3 – Planned density and demand generation rate for a trunk infrastructure network in Schedule 3 Local government infrastructure plan mapping and tables.

##### A summary of the projected infrastructure demand for each service catchment is stated in:

###### for the water supply network, Table SC3.1.6 – Existing and projected demand for the water supply network;

###### for the wastewater network, Table SC3.1.7 – Existing and projected demand for the wastewater network;

###### for the stormwater quantity network, Table SC3.1.8 – Existing and projected demand for the stormwater quantity network;

###### for the transport network, Table SC3.1.9 – Existing and projected demand for the transport network;

###### for the public parks and land for community facilities network, Table SC3.1.10 – Existing and projected demand for the public parks and land for community facilities network.

## Priority infrastructure area

##### The priority infrastructure area identifies the area prioritised for the provision of trunk infrastructure to   service the existing and assumed future urban development up to 2036.

##### The priority infrastructure area is identified on Local Government Infrastructure Plan Map SC3:3:1––Priority infrastructure area and projection areas map in Schedule 3—Local government infrastructure plan mapping and tables.

## Desired standards of service

##### This Section states the key standards of performance for a trunk infrastructure network.

##### Details of the standard of service for each trunk infrastructure network are identified in the extrinsic material listed in Section 4.6.

### Water supply network

##### The key desired standard of service for the trunk water supply network is summarised in Table 4.4:1 – Per capita water consumption by catchment (average day demand) and Table 4.4:2 – Other water supply network desired standards of service.

Table 4.4:1—Per capita water consumption by catchment (average day demand)

| Column 1 Planning Catchment | Column 2 Service Catchment | Column 3 (L/EP/d) |
| --- | --- | --- |
| Toowoomba | Bulk | 200 |
| Highfields | Bulk |  |
| Oakey and Jondaryan | Bulk |  |
| Crows Nest and Hampton | Bulk |  |
| Gowrie Mountain, Kingsthorpe & Gowrie Junction | Bulk |  |
| Meringandan West | Bulk |  |
| Yarraman | Yarraman |  |
| Goombungee | Bulk |  |
| Top Camp, Hodgson Vale & Vale View | Bulk |  |
| Cambooya, Greenmount | Bulk |  |
| Wyreema | Bulk |  |
| Nobby | Bulk |  |
| Clifton | Bulk |  |
| Pittsworth | Pittsworth | 250 |
| Cecil Plains | Cecil Plains | 280 |
| Millmerran | Millmerran | 300 |

Table 4.4:2—Other water supply network desired standards of service

| Column 1 Parameter | Column 2 Standard for LGIP |
| --- | --- |
| Maximum allowable service pressure. | 80.0 m |
| Minimum service pressure for Residential. | 30.0 m |
| Minimum service pressure for Industrial and Commercial. | 35.0 m |
| Absolute minimum service pressure for Residential. | 22.0 m (by Council approval only) |
| Absolute minimum service pressure for Industrial and commercial sites. | 25.0 m (by Council approval only) |
| Fire fighting requirements |  |
| Urban | 15 L/s Residential |
|  | 30 L/s Non-Residential |
| Small Community | 7.5 L/s Residential |
|  | 15 L/s Non-Residential |
| Minimum fire fighting modelling results of less than 16 m head are to be considered as “Pressure Disadvantaged”. |  |
| Pressures between 12-16m head will require Council approval with justification for adoption. |  |

### Wastewater network

##### The key desired standard of service for the trunk wastewater network is summarised in Table 4.4:3—Wastewater desired standards of service.

Table 4.4:3—Wastewater desired standards of service

| Column 1 Parameter | Column 2 Standard for LGIP |
| --- | --- |
| Average dry weather flow (ADWF) per EP, for the wastewater network | In the absence of location / study specific data, the following ADWF value is used: - 150 L/EP/d (75 % of 200 L/EP/d) for conventional gravity wastewater systems in Residential areas - 180 L/EP/d for Industrial / Commercial areas. |
| Peak dry weather flow (PDWF) | 2.46 x ADWF |
| Peak wet weather flow (PWWF) | 5 x ADWF |
| Maximum depth of flow at PWWF for gravity sewers | 0.75 x diameter |
| Minimum rising main velocity | 0.75 m/s |
| Maximum rising main velocity | 1.5 m/s (single pump) 2.5 m/s (all pumps) |

### Stormwater quantity network

##### The desired standard of service for the trunk stormwater quantity network is as follows:

###### the stormwater quantity network is to collect, convey and detain stormwater flows in a manner that minimises risk to property and life and reduces the cost of flood damage to the community;

###### design the stormwater network in accordance with the following dual standards:

standard A for a greenfield growth area;

standard B for an area other than a greenfield growth area.

##### For subsection 1, a greenfield growth area means land outside the existing urban area and includes, but is not confined to land within the following service catchments identified in Local Government Infrastructure Plan Map LGIP SC3:3:5A––Greenfield growth areas subject to standard A map in Schedule 3—Local government infrastructure plan mapping and tables:

###### Klein Creek;

###### Meringandan Creek;

###### Spring Creek;

###### Dry Creek;

###### Lower Gowrie Creek.

##### For subsection 1:

###### standard A is the design standards summarised in Table 4.4:4;

###### standard B is no actionable nuisance of pre-development conditions.

Table 4.4:4— Standard A trunk stormwater quantity infrastructure for greenfield growth areas

| Column 1 Trunk stormwater infrastructure types | Column 2 Greenfield Desired Standards of Service |
| --- | --- |
| Strategic Waterways | The greater extent of: 1% AEP + 500mm freeboard; or 1% AEP + 10m offset; or Open space zoning as relevant to stormwater and waterway management. |
| Stormwater Open Channels | 1% AEP + 300mm freeboard |
| Stormwater Pipe Systems | 1% AEP |
| Detention Basins | Mitigate to 2021 existing peak flowrates for all AEPs 63% to 1% and provide 300mm freeboard |
| Waterway Crossings | 2% AEP immunity for Major Roads |

### Transport network

##### The desired standard of service for the trunk transport network is to provide a functional urban road hierarchy that supports settlement patterns, commercial and economic activities, and freight movement, while providing appropriate capacity, connectivity and accessibility for all transport users.

##### The desired standard of service establishes the performance and design standards for the trunk transport network and is based on:

###### Council’s road hierarchy and adopted standards identified in Schedule 6, Section SC6.2 PSP No. 2—Engineering Standards – Roads and Drainage Infrastructure;

###### Department of Transport and Main Roads - Road Planning and Design Manual (2nd edition);

###### Australian Standards (various);

###### Austroads guidelines (various).

##### The key design standards for the road network are summarised in Table 4.4:5 and Table 4.4:6 – Road desired standards of service requirements and criteria.

##### The target levels of service for intersections are summarised in Table 4.4:7 – Target intersection level of service by intersecting roads and Table 4.4:8 – Threshold level of service and threshold criteria.

Table 4.4:5—Road desired standards of service requirements and criteria

| Column 1 Hierarchy Class | Column 2 Link Speed (km/h) | Column 3 Divided Carriageway | Column 4 Target capacity (pcus per lane-hour) | Column 5 Minimum Lane Width (m) |
| --- | --- | --- | --- | --- |
| Highway (Trunk) | 100 | Yes | 2,000 | 3.50 |
| Arterial Road (Trunk) | 80 | Yes | 1,800 | 3.50 |
| Sub-Arterial Road (Trunk) | 80 | Yes | 1,500 | 3.50 |
| Distributor Road (Trunk) | 60 | No | 900 | 3.50 |
| Collector Street (Non-trunk) | 50 | No | 300 | 3.50 |
| Local Street (Non-trunk) | 40 | No | 100 | 3.25 |
| Main Street (Non-trunk) | 30 | No | 1,200 | 3.00 |

Table 4.4:6—Road desired standards of service requirements and criteria

| Column 1 Hierarchy Class | Column 2 Property Access | Column 3 On-street Parking | Column 4 On-road Cycling | Column 5 Mid-Block link threshold LoS |
| --- | --- | --- | --- | --- |
| Highway (Trunk) | No | No | No | B |
| Arterial Road (Trunk) | No | No | Yes | B |
| Sub-Arterial Road (Trunk) | No | No | Yes | C |
| Distributor Road (Trunk) | Determined on Case-by-Case basis |  | Yes | C |
| Collector Street (Non-trunk) | Yes | Yes | Yes | D |
| Local Street (Non-trunk) | Yes | Yes | Yes | D |
| Main Street (Non-trunk) | Yes | Yes | Yes | E |

Table 4.4:7—Target level of service by intersecting road

| Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6 | Column 7 | Column 8 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hierarchy | Highway | Arterial Road | Sub-Arterial Road | Distributor Road | Collector Street | Local Street | Main Street |
| Highway | B |  |  |  |  |  |  |
| Arterial Road | B | B |  |  |  |  |  |
| Sub-Arterial Road | C | C | C |  |  |  |  |
| Distributor Road | C | C | C | D |  |  |  |
| Major Collector | N/A | C | D | D | D |  |  |
| Minor Collector | N/A | C | D | D | D |  |  |
| Local Street | N/A | N/A | N/A | D | C | B |  |
| Main Street | N/A | N/A | C | D | D | E | E |

Table 4.4:8—Threshold level of service and threshold criteria

| Column 1 Control Type | Column 2 Metric (based on peak hours) | Column 3 Level of Service E | Column 4 Level of Service D | Column 5 Level of Service C | Column 6 Level of Service B |
| --- | --- | --- | --- | --- | --- |
| Traffic signals | DoS (intersection average) | 1.00 | 0.95 | 0.70 | 0.50 |
| Roundabout | DoS (worst approach) | 1.00 | 0.85 | 0.70 | 0.50 |
| Priority control | Avg. Delay (worst movement, secs) | 50 | 40 | 30 | 20 |

### Parks and land for community facilities network

##### The key desired standard of service for the trunk parks and land for community facilities network are:

###### provide an accessible network of parks, open space, and community facilities that meets the needs of residents and visitors in accordance with:

the accessibility standard identified in column 4 of Table 4.4:9 – Accessibility and rate of land provision standards for trunk parks;

the rate of land provision identified in column 5 of Table 4.4:9 – Accessibility and rate of land provision standards for trunk parks;

the size, slope, road frontage and level of flood immunity standards for park land stated in column 3 of Table 4.4:10 – Land standards for trunk parks;

embellish parks to complement the type and function of the park in accordance with the standards stated in column 3 of Table 4.4:11 – Embellishment standards for trunk parks.

Table 4.4:9—Accessibility and rate of land provision standards for trunk parks

| Column 1 Park function | Column 2 Category | Column 3 Hierarchy | Column 4 Accessibility | Column 5 Rate of land provision (per 1,000 people) |
| --- | --- | --- | --- | --- |
| Recreation Parks | Local | Urban | 400m | 0.7 ha |
|  |  | Township |  | 0 ha |
|  |  | Supplementary Local (provided only in Township where accessibility standards are not being met by the District Recreation Park) |  | 0.7 ha |
|  | District – Urban | Urban | 1km | 1.0 ha |
|  |  | Township |  | 1.2 ha |
|  | District – Linear Corridor | Urban | 1km | 1.0 ha |
|  |  | Township |  | 1.2 ha |
|  | Regional | N.A. | Centrally located to serve entire region including urban, township and rural catchments | 0.1 ha |
| Sports Parks | District | Urban | 5km accessibility catchment | 1.3 ha |
|  |  | Township |  |  |
|  | Regional | N.A. | Located within the major population centre and central to serve entire region including urban, township and rural catchments | 0.5 ha |

Table 4.4:10—Land standards for trunk parks

| Column 1 Park classification | Column 2 Standard | Column 3 Standard description |
| --- | --- | --- |
| Local Recreation Park | Minimum size | 0.5 ha of useable space |
|  | Shape | The preferred shape is square to rectangular with a boundary ratio no greater than 2:1 |
|  | Road frontage | 50% of the park perimeter to have direct road frontage (maximum 75% road frontage) On a formed collector road or lower Maximum gradient of 1:20 interface between road frontage and park One vehicular access point |
|  | Gradient | Minimum of 80% of the park has a maximum gradient of 1:30 Maximum of 20% of the park has a gradient greater than 1:30 but less than 1:6 for maintenance purposes |
|  | Flood immunity | Minimum of 15% of the park above 5% AEP flood extent Minimum of 10% of the park above 2% AEP flood extent Minimum of 5% of the park above 1% AEP flood extent |
| District Recreation Park (Urban and Township) | Minimum size | 2.0 ha of useable space |
|  | Shape | The preferred shape is square to rectangular with a boundary ratio no greater than 2:1 |
|  | Road frontage | Minimum 50% of the park perimeter to have direct road frontage on a formed collector or distributor road Maximum gradient of 1:20 interface between road frontage and park Two vehicular access points |
|  | Gradient | Minimum of 70% of the park has a maximum gradient of 1:30 Maximum of 30% of the park has a gradient greater than 1:30 but less than 1:6 for maintenance purposes |
|  | Flood immunity | Minimum of 40% of the park above 5% AEP flood extent Minimum of 20% of the park above 2% AEP flood extent Minimum of 10% of the park above 1% AEP flood extent |
| District Recreation Park (Linear Corridor) | Minimum size | District activity nodes: - Minimum of 6000m2 meeting required accessible gradients (preferred shape 100m x 60m) - Minimum width of 60m above the 1% AEP flood extent Local activity nodes: - Minimum of 2000m2 meeting required accessible gradients (preferred shape 40m x 50m) - Minimum width of 50m above the 1% AEP flood extent Active Transport Corridor: - A minimum of 15m width above the 1% AEP flood extent or where not subject to flood extent, a minimum width of 30m is required |
|  | Shape | Linear in nature providing both activity nodes for active recreation and play at breakout points along the corridors (consistent with accessibility requirements of Local and District Recreation Parks) and active transport (walking and cycling) connections between activity nodes |
|  | Road frontage | Minimum 75% of the park perimeter (including nodes and active transport corridor) to have direct road frontage to a formed collector or distributor road A maximum distance without road (behind private allotments) is 180m with clear visual surveillance for the full length of this area Maximum gradient of 1:20 interface between road frontage and park One vehicular access point at each Local activity node and two vehicle access points at each District activity node |
|  | Gradient | District and Local activity nodes - Maximum grade of 1:30 for shared functionality and to accommodate varying levels of mobility Active Transport Corridor - Maximum grade of 1:14 (or where necessary due to the recognition of natural features, not greater than 1:10) An alternative maximum gradient can be considered for specific portions of the active transport corridor on a case-by-case basis where elevation provides a public benefit (e.g. scenic viewpoint) |
|  | Flood immunity | Approximately 30% above 1% AEP flood event generally provided at activity nodes Features to be located at above 1% AEP flood event: - All structures; - Playgrounds and play equipment; and - Other key infrastructure (i.e. priority access paths, lighting, water bubblers), barbecues, bins, exercise equipment). - Features to be located at above 5% AEP flood event: - Secondary pathways (i.e. connecting or loop paths); - Seating; and - Signage |
| Regional Recreation Park | Minimum size | Variable (regional parks are unique and not tied to specific size other than population needs) |
|  | Shape | Square or rectangular with a boundary ratio no greater than 2:1. There is scope to explore other proportions dependant on land available to meet regional size needs and deliver on activity needs identified for new regional park land |
|  | Road frontage | Minimum 75% of the park perimeter to have direct road frontage On a formed collector road or higher Maximum gradient of 1:20 interface between road frontage and park Multiple vehicular access points as appropriate for use and location Accessible by public transport |
|  | Gradient | Minimum of 80% of the park has a maximum gradient of 1:30 Maximum of 20% of the park has a gradient greater than 1:30 but less than 1:6 for maintenance purposes |
|  | Flood immunity | 60% of the park above 5% AEP flood extent 40% of the park above 2% AEP flood extent 30% of the park above 1% AEP flood extent |
| District Sports Parks | Minimum size | 8.0 ha |
|  | Shape | The preferred shape for a park is square to rectangular with a length to width ratio of no greater than 2:1 (dependant on intended sporting facilities and flexibility that allows for change in programs) |
|  | Road frontage | Minimum 50% of the park perimeter to have direct road frontage On a formed collector or higher order road Maximum gradient of 1:20 interface between road frontage and park Two vehicular access points Accessible by public transport and connection with external bikeways/pathway network |
|  | Gradient | Maximum gradient of 1:100 for all playing surfaces Minimum of 70% of the park area outside of playing surfaces has a maximum gradient of 1:30 Maximum of 30% of the park outside of playing surfaces has a gradient greater than 1:30 but less than 1:6 for maintenance purposes Overland flow managed via swale drains and piped where required |
|  | Flood immunity | Fields / courts above 5% AEP flood extent Built facilities above 1% AEP flood extent Balance of site above 10% AEP flood extent |
| Regional Sports Parks | Minimum size | Sized as required to meet provision standards |
|  | Shape | The preferred shape for a park is square to rectangular with a length to width ratio of no greater than 2:1 (dependant on intended sporting facilities and flexibility that allows for change in programs) |
|  | Road frontage | Minimum 50% of the park perimeter to have direct road frontage On a formed collector road or higher Maximum gradient of 1:20 interface between road frontage and park Multiple vehicular access / egress points as appropriate for use and location, including consideration for emergency vehicle access Accessible by public transport |
|  | Gradient | Maximum gradient of 1:100 for all playing surfaces Minimum of 70% of the park area outside of playing surfaces has a maximum gradient of 1:30 Maximum of 30% of the park outside of playing surfaces has a gradient greater than 1:30 but less than 1:6 for maintenance purposes |
|  | Flood immunity | Fields / courts above 5% AEP Built facilities above 1% AEP Balance of site above 10% AEP |

Table 4.4:11—Embellishment standards for trunk parks

| Column 1 Park classification | Column 2 Standard | Column 3 Standard description |
| --- | --- | --- |
| Local Recreation Park | Recreation activity area | Mix of 3 or 4 activity options within one activity node (e.g. playground, nature play, social sporting infrastructure such as multi-purpose / hard court) |
|  | Fencing | Fencing to perimeter – typically bollards or similar Lockgate at vehicle access point |
|  | Landscaping | Existing trees retained and new park trees planted capable of providing a minimum of 40% natural shade at maturity Turf to disturbed areas |
|  | Park furniture | Signage - park name Water bottle filler Bench seat Picnic set Shelter Shade sail or structure over activity node |
|  | Vehicular and pedestrian movement | Shared path (2 metre wide) connecting activity node to key park elements (e.g. external path network, carparks, bus stop) |
| District Recreation Park (Urban and Township) | Recreation activity area | Mix of 6 - 8 activity options in 2 – 3 activity nodes (e.g. playground, nature play, water play, social sporting infrastructure such as multi-purpose / hard court, scooter / skate, bike facilities, fitness equipment or dog off-leash area) Activity options to attract a range of age-cohorts |
|  | Fencing | Fencing to perimeter and internal car parking – typically bollards or similar Lockgate at vehicle access points |
|  | Vehicular and pedestrian movement | Internal and / or on-road car parking. On-road parking preferred. Shared path (2.5 metre wide) connecting activity node to key park elements (e.g. external path network, carparks, bus stop) Additional paths (2 metre wide) to achieve a walking circuit |
|  | Buildings | Amenity block - minimum standard of three cubicles unisex (for example 2 ambulant, 1 PWD) |
|  | Landscaping | Existing trees retained and new park trees planted capable of providing a minimum of 40% natural shade at maturity Garden beds provided for buffering and to separate areas of different uses Irrigation to all garden beds and high use turf areas Turf to disturbed areas |
|  | Park furniture | Signage - park name, regulatory and informative Lighting along key pedestrian pathways and activity nodes Bike racks Water bubblers Bench seating Picnic sets Shelter Barbeque Shade sails or structure over activity node Rubbish bins with enclosure |
| District Recreation Park (Linear Corridor) | Recreation activity area | Located in activity nodes or at other appropriate spaces along the active transport corridor when the activity meets the intent of the function Activity options appropriate to the activity node: Local activity node - mix of 3-4 activity options at 1 activity nodes (e.g. playground, nature play, social sporting infrastructure such as multi-purpose / hard court). District activity node – 6-8 activity options at 2-3 activity node (e.g. playground, nature play, water play, social sporting infrastructure such as multi-purpose / hard courts, scooter / skate, bike, fitness equipment, dog off-leash area) |
|  | Fencing | Fencing to nodes, areas where vehicle access likely and internal car parking – typically bollards or similar Lockgate at each vehicle access point at nodes |
|  | Vehicular and pedestrian movement | On-road car parking at district activity nodes and where formal carparking can be provided without impact on linear corridor function or values Shared path (2.5 metres wide) connecting activity areas with external path network and between activity nodes Additional paths (2 metres wide) to achieve a walking circuit Pedestrian bridge crossing |
|  | Buildings | Amenity block - minimum standard of three cubicles unisex (for example 2 ambulant, 1 PWD) |
|  | Landscaping | Existing trees retained and new park trees planted capable of providing a minimum of 40% natural shade at maturity Garden beds provided for buffering and to separate areas of different uses Irrigation provided to all garden beds and high use turf areas (where required) Revegetation areas with native drought resistant plantings in a mulched garden bed Turf to disturbed areas |
|  | Park furniture (all accessible) | Signage – park name, regulatory, informative and wayfinding Lighting along key pedestrian pathways and activity Bike racks Water bubblers Bench seats Picnic sets Shelter Barbeques Shade sail or structure over activity node Rubbish bins with enclosure |
| Regional Recreation Park | Recreation activity area | To meet a regional recreation activity needs analysis (the site should be designed / master planned to accommodate identified activity needs – activity areas should flow and legibility be of paramount concern) |
|  | Fencing | Bollard fencing to perimeter and internal roads / car parking and lockgate where appropriate for maintenance / venue access (dependant on design and safety issues) |
|  | Pedestrian / pathway network | All major connection paths to be shared pathways - minimum 2.5m width (wider for key/high use areas) Legible layout tied to a way finding strategy |
|  | Internal roads | Dependant on site and site needs (should be considered with respect to delivery of goods for venue use and maintenance needs) |
|  | Car parking | Minimum 20 spaces per key activity node (additional parking considered as relates to venue use other than general park recreation activity) Consider overflow / event parking opportunities and bump-in / out needs |
|  | Bus parking / pull through | Bus pull-through ideally accommodated (may be on-site or in close proximity, ensure there is clear way finding to link with parkland) Bus parking may be considered as park of overflow / event parking opportunities |
|  | Buildings | Amenity blocks located to support activity area needs Sustainable building practices, such as solar power and stormwater harvesting, to be incorporated into building (where possible) |
|  | Landscaping | Existing trees retained and new park trees planted capable of providing a min of 40% natural shade at maturity Garden beds provided for buffering, separation and amenity purposes Feature and theme plantings where appropriate Water harvesting and storage where appropriate |
|  | Irrigation | Required in high use turf areas and all garden beds |
|  | Feature paving / concrete stencilling | As required to identify activity nodes and entrance points (tied to way finding strategy to assist in legibility) |
|  | Park signage | Park signage (park name, regulatory, wayfinding and interpretative signage) Way finding strategy required to determine extent of signage (may extend outside of park boundary to link with public transport nodes or town centre) |
|  | Park furniture | Park lighting required for all activity nodes and all key pathways (including solar where appropriate) Bike racks required at entry points and attached to key activity nodes Water bubbler to serve 50m catchments includes water connections Seating clustered at nodes and to serve 50m catchments along key pathways Picnic set and shelters tied to activity / use analysis Barbeques tied to activity / use analysis Shade Structure tied to activity / use analysis Rubbish bins with enclosure |
|  | Art work | A public art strategy for the regional park is required |
| District Sport Park | Formalised sports fields, courts or facilities | Minimum two ovals and four rectangular fields with a north-south orientation Multipurpose / hard court sports as required. High quality playing surface |
|  | Fencing | Fencing to perimeter and internal car parking – typically bollards or similar Lockgate at each vehicle access point |
|  | Vehicular & Pedestrian Movement | Internal formed car parking and on-road car parking Internal roads where required Shared path (2.5 metres wide) connecting activity node to key park elements (e.g. external path network, carparks, bus stop) Additional paths (2 metres wide) to achieve a walking circuit |
|  | Public Transport | Bus pull-through and parking where possible |
|  | Buildings | Amenity building including combined sport facilities and public toilets |
|  | Landscaping | Existing trees retained and new park trees Garden beds provided for buffering and to separate areas of different uses Irrigation provided to all garden beds and high use turf areas (where required) Turf to disturbed areas |
|  | Irrigation | Irrigation to high use playing surfaces |
|  | Lighting | Lighting for high use sports fields to competition standard Lighting along key pedestrian pathways including electrical connection |
|  | Park furniture | Signage – park name, regulatory and wayfinding Bike racks Rubbish bin with enclosure |
| Regional Sports Park | Formalised sports fields, courts or facilities | To meet a regional sport needs analysis (the site should be designed / master planned to accommodate identified regional sporting needs) including to meet the minimum needs of the targeted sports National/ State facility guidelines |
|  | Fencing | Bollard fencing to perimeter and internal roads and lock rail where appropriate for maintenance / venue access (other types of fencing as agreed with Council and dependant on design and safety issues) |
|  | Pedestrian / pathway network | Pedestrian pathway connecting activity areas and external path network Pedestrian pathway for access to major infrastructure/ premier hub Safe connections from public transport and car parks to activity nodes Incorporate minimum 5km internal walk/cycle network loop |
|  | Internal roads | Dependant on site and site needs (should be considered with respect to delivery of goods for venue use and maintenance needs) Incorporate emergency access arrangements Internal road network loop connecting all individual car parking nodes to each other. Safe drop off/ pick up zone |
|  | Car parking | Internal car parking relevant to sporting use type Consider overflow / event parking opportunities and bump-in / out needs Bike racks adjacent to each individual building node |
|  | Public transport | Bus pull-through and parking where possible |
|  | Buildings | Premier building hub provided central to site and smaller amenity building provided at a rate of one per activity node / maximise opportunities for shared use between activity nodes. Buildings to provide combined sport facilities and public toilets |
|  | Landscaping | Existing trees retained where appropriate and new park trees planted capable of providing a minimum of 10% natural shade at maturity around activity areas and along vehicular and pedestrian movement areas Garden beds provided for buffering, separation and amenity purposes Water harvesting and storage where appropriate Irrigation provided to all garden beds and high use turf areas |
|  | Irrigation | Irrigation to formalised sports fields with sub surface drainage |
|  | Lighting | Minimum one lit field per activity node consistent with the minimum needs of the targeted sports National/ State facility guidelines Safety lighting to all activity nodes and key pathways |
|  | Park furniture | In addition to any recreation activity area: Signage – park name, regulatory and wayfinding Bike racks Rubbish bin with enclosure |

## Plans for trunk infrastructure

##### The plans for trunk infrastructure identify the trunk infrastructure networks intended to service the existing and assumed future urban development at the desired standard of service.

### Plans for trunk infrastructure maps

##### The existing and future trunk infrastructure networks are identified on the following maps in Schedule 3—Local government infrastructure plan mapping and tables:

###### Local Government Infrastructure Plan Map LGIP SC3:3:3 Plan for Trunk Water Supply Infrastructure;

###### Local Government Infrastructure Plan Map LGIP SC3:3:4 Plan for Trunk Wastewater Infrastructure;

###### Local Government Infrastructure Plan Map LGIP SC3:3:5 Plan for Trunk Stormwater Quantity Infrastructure;

###### Local Government Infrastructure Plan Map LGIP SC3:3:6 Plan for Trunk Transport Infrastructure;

###### Local Government Infrastructure Plan Map LGIP SC3:3:7 Plan for Trunk Parks and Land for Community Facilities Infrastructure.

##### The state infrastructure forming part of transport trunk infrastructure network has been identified using information provided by the relevant state infrastructure supplier.

### Schedules of works

##### Details relating to the existing and future trunk infrastructure networks are identified in the electronic Excel schedule of works model, which can be viewed here:

##### https://www.tr.qld.gov.au/Plan-and-build/Toowoomba-Regional-Planning-Scheme/Local-Government-Infrastructure-Plan

##### The future trunk infrastructure, derived from the SOW model, is summarised in the following tables in Schedule 3—Local government infrastructure plan mapping and tables:

###### for the water supply network, SC3.2.1—Water supply network schedule of works;

###### for the wastewater network, SC3.2.2 —Wastewater network schedule of works;

###### for the stormwater quantity network, SC3.2.3 —Stormwater quantity network schedule of works;

###### for the transport network, SC3.2.4 —Transport network schedule of works;

###### for the public parks and land for community facilities network, SC3.2.5 —Public parks and land for community facilities network schedule of works.

## Extrinsic material

Table 4.6:1 identifies the documents that assist in the interpretation of the local government infrastructure plan and are extrinsic material under the Statutory Instruments Act 1992.

Table 4.6:1—List of extrinsic material

| Column 1 Title of document | Column 2 Date | Column 3 Author |
| --- | --- | --- |
| Toowoomba Regional Council TRPS Urban Growth Model – Model Assumptions Summary Report | June 2026 | Sizztech Pty Ltd |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Water Supply Network | June 2026 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Sewerage Network | June 2026 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Stormwater Quantity Network | June 2026 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Transport Network | June 2026 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Public Parks Network | June 2026 | Toowoomba Regional Council |
| Toowoomba Regional Council LGIP Extrinsic Material Report – Schedule of Works Financial Model | May 2026 | PIE Solutions |

Amended on 4 August 2014

Amended on 9 June 2017

Amended on 3 July 2017

Amended on 22 January 2021

Amended on 28 November 2022

Amended on 21 July 2026

Macro enabled version of SOW is available on request.